LOTs DESCRIPTION

LOT 1: Mechanical Rehabilitation

Renovation of mechanical system (heating and clean water installations)

Within the scope of this lot, the rehabilitation of existing mechanical systems in the project area will be carried out. The works include the renewal and improvement of the building’s heating system and domestic water supply system. All applications shall be performed in accordance with the prevailing national legislation and relevant technical specifications.

The objective of the works is to increase the energy efficiency of the existing systems, ensure safe and sustainable operation, and improve the long-term operational performance of the installations. In this context, all types of machinery, equipment, labor, and materials required for the complete execution of the relevant work items shall be provided by the Contractor. All manufacturing, installation, testing, and commissioning activities shall be under the responsibility of the Contractor.