LOTs DESCRIPTION

LOT 3: Electricity Rehabilitation

Electricity update of the annexes

Within the scope of this lot, the rehabilitation and upgrading of the electrical installations in the additional buildings located within the project area shall be carried out. The works encompass the improvement of existing electrical installations, the renewal of required lines, the upgrading of distribution boards (panels) and connection elements, the retrofitting of lighting fixtures with LED technology, the installation of a garden lighting system, and all applications necessary to ensure the safe and efficient operation of the system. All applications shall be performed in accordance with the prevailing national legislation and relevant technical specifications.

The objective of the works is to enhance the safety of the electrical systems, align them with modern requirements, and ensure the sustainable operation of the installations. In this context, all types of machinery, equipment, labor, and materials required for the complete execution of the relevant work items shall be provided by the Contractor. All manufacturing, installation, testing, measurement, and commissioning activities shall be under the responsibility of the Contractor.

Electrical Works Applied In The Italian Church And Its Annex Buildings

- Within the scope of landscaping, ground lighting will be provided in the campus garden. (Permissions for the design were obtained from the Edirne Cultural Heritage Protection Regional Board Directorate and uploaded to the system with the other documents of the project.) Works to be done within this scope are:

  - Manually excavating soft and hard soil at all depths for new installations in the campus garden (loose and vegetal soil, loose silt, sand, clay, silty, sandy and loose clay, clayey sand and gravel, stony soil that can be shoveled and similar soils)

  - Drawing the electrical line through channels within the excavation and connecting the line to the off-grid system

  - Installation of lighting fixtures from the ground

- Lighting fixtures in additional buildings will be renewed to ensure energy efficiency. Works to be done within this scope are:

  - Surface mounted, luminous flux at least 2900 lm, luminous efficiency at least 100 lm/w, LED linear fixtures to be replaced with their old ones

  - Surface mounted, LED circular (downlight) fixture (luminous flux at least 1700 lm, luminous efficiency at least 100 lm/w) to be replaced with their old ones

- The existing electrical installations of the buildings will be checked and maintained, and switches and sockets will be replaced. Works to be done within this scope are:

  - Recessed normal switch (TS 4915 EN 60669-1), for separate installation parts

  - Recessed commutator switch (TS 4915 EN 60669-1), for separate installation parts

  - Recessed grounded socket (TS-40), for separate installation parts

- A telephone line will be installed for the buildings' internet connection.

- Electrical and VGA lines will be drawn to the projection devices of the seminar halls of the buildings and surface mounted channels will be installed.