LOTs DESCRIPTION

LOT 4: Solar Panel System

Installation of Solar Panel System with off-grid systems and link to electrical systems of the site.

Within the scope of this lot, an off-grid Solar Panel System shall be installed at the project site. The works encompass the procurement and mounting of solar panels, energy storage units (batteries), inverters, control equipment, and all electrical connections required to integrate the system with the site’s existing electrical installation. All applications shall be performed in accordance with the prevailing national legislation and relevant technical specifications.

The objective of the works is to increase the use of renewable energy, ensure energy independence, and support environmental sustainability. In this context, all types of machinery, equipment, labor, and materials required for the complete execution of the relevant work items shall be provided by the Contractor. All manufacturing, installation, testing, commissioning, and system performance verification activities shall be under the responsibility of the Contractor.