LOTs DESCRIPTION

LOT 5: Construction Works

All Interior and exterior façade, roof works, ground, door-window repair, landscape works. All work items to be done within this scope are presented in the attachment.

Within the scope of this lot, the repair of interior and exterior surfaces of the structures within the project area and the creation of finishing surfaces, interior and exterior painting, roof and gutter works, floor arrangements, door and window repairs, and landscaping (site improvement) works shall be carried out. All work items to be performed within this context are specified in the detailed annexes, technical drawings, and lists attached to the tender documents. All applications shall be performed in accordance with the prevailing national legislation and relevant technical specifications.

The objective of the works is to improve the physical condition of the structures, increase operational safety and comfort, and provide an aesthetically and functionally sustainable environment. In this context, all types of machinery, equipment, labor, and materials required for the complete execution of the relevant work items shall be provided by the Contractor. All manufacturing, application, testing, and acceptance procedures shall be under the responsibility of the Contractor.