VOLUME 4.2

FINANCIAL OFFER TEMPLATES

LUMP SUM CONTRACTS

Introduction

1.	The breakdown of the lump-sum price (Volume 4.2.3) is the itemised list of prices showing the build-up of the price in a lump-sum contract. This breakdown of the lump-sum price does not derogate in any way to the clause stating that, in a lump-sum contract, the total contract price remains fixed irrespective of the quantity of work actually carried out.

The amounts due will be calculated:

The breakdown must coincide with the payment-definition chosen in Article 49 of the special conditions:

|  | Percentage | Nature | Timing |
| --- | --- | --- | --- |
| 1. | 10% | Lump-sum advance of Article 46.1(a) | After conclusion of the contract determined by the parties following agreement between the parties. |
| 2. | 20% | Interim payment of Article 50 | After completion of 30% percentage of the firm quantities for which the contractor submitted its all-in price. |
| 3. | 20% | Interim payment of Article 50 | After completion of 20% percentage of the firm quantities for which the contractor submitted its all-in price. |
| 4. | 20% | Interim payment of Article 50 | After completion of 20% percentage of the firm quantities for which the contractor submitted its all-in price. |
| 5. | 20% | Interim payment of Article 50 | After completion of 30% percentage of the firm quantities for which the contractor submitted its all-in price. |
| 6. | 10% | Retention money of Article 47 | Within 45 days of the issuing of the signed final statement of account |

2.	The item description given in the breakdown of the lump-sum price in no way limits the contractor’s obligations under the contract to provide all the works described elsewhere.

3.	The prices of the breakdown of the lump-sum price include all incidental and contingent expenses and all risks necessary to construct, complete and maintain all works in accordance with the contract. Unless separate items are provided in the breakdown of the lump-sum price, prices include all costs involved in the various items of the breakdown.

4.	The lump–sum price and the prices of the breakdown of the lump-sum price are all-inclusive and include any non-exonerated tax or fiscal duty.

VOLUME 4.2.3 — BREAKDOWN OF THE LUMP-SUM PRICE

| Nr | Type of Production | Unit | QUANTITY | Unit Price | Total price EUR |
| --- | --- | --- | --- | --- | --- |
| Construction Works |  |  |  |  |  |
| 1 | Making plaster skirt chimney edge from zinc number 12 | MT | 14 |  |  |
| 2 | Applying putty and primer to new plaster surfaces and applying two coats of water-based semi-matte paint (interior) | M2 | 1.459,00 |  |  |
| 3 | Applying silicone-based water-based paint to exposed concrete, plastered or old painted surfaces by applying primer (exterior) | M2 | 1.530,00 |  |  |
| 4 | Replacing old, rotting parts of classic windows with first-class pine timber | M2 | 5 |  |  |
| 5 | Manual sanding of Turkish style wooden flooring | M2 | 447 |  |  |
| 6 | Cleaning and polishing of existing artificial stone or marble slab floors | M2 | 120 |  |  |
| 7 | Removal of zinc, pipes, gutters and streams of all sizes | MT | 182 |  |  |
| 8 | Marseille Type Tile Cost in Roof Covering | M2 | 112 |  |  |
| 9 | Removal of wooden slatted flooring up to 5x8 cm section on the ground | M2 | 50 |  |  |
| 10 | Pick up of Marseille Type Tiles | M2 | 512 |  |  |
| 11 | Careful Plastering of Brick Surfaces Coated with Non-Original Horasan, Hydraulic, Pozzolanic or Lime Mortar or Reinforced Mortar, Without Damaging the Ground and Without Leaving Any Residue After Rasping (0-5cm) | M2 | 230 |  |  |
| 12 | Rough whitewash rasping | M2 | 3.438,00 |  |  |
| 13 | Cleaning of Marble and Granite Facades by Spraying Hot Water with a Compressor | M2 | 180 |  |  |
| 14 | Cleaning and Disposal of Rubble and Dirt (Dirt, Dust, Soil Layer) in Basements, Roofs and Floors | M3 | 5 |  |  |
| 15 | Construction of Fully Secure Facade Scaffolding from Steel Pipe | M3 | 1.459,00 |  |  |
| 16 | Construction of a Fully Safe Work Scaffolding from Steel Pipes | M3 | 910 |  |  |
| 17 | Painting of Classic Iron Railings with 2 Coats of Anti-Rust and 2 Coats of Synthetic Paint | M2 | 430 |  |  |
| 18 | Rough Plastering on Flat Surface with 500 Doses of Hydraulic Lime Mortar | M2 | 230 |  |  |
| 19 | Making Flat Thin Plaster with 500 Doses of Hydraulic Lime Mortar and Polished with Clover or Steel Trowel | M2 | 230 |  |  |
| 20 | Cleaning and Re-using Original Marseille Tile | M2 | 400 |  |  |
| 21 | Workmanship of Roof Covering with Marseille Type Tiles | M2 | 512 |  |  |
| 22 | Workmanship of Building a Roof Ridge with Marseille Type Tiles | MT | 40 |  |  |
| 23 | Making and fixing a monoblock rain gutter (seamless) with a collar made of 0.5 mm thick painted galvanized sheet metal, rain stream or vertical rain downpipe. | MT | 168 |  |  |
| 24 | Making wooden flooring with 1st class pine timber, clean 2.2 cm thick and minimum 16 cm wide. | M2 | 50 |  |  |
| 25 | Making and placing classic door or shutter wings from 1st quality pitch pine with simple table register and spar thickness up to 5 cm (including 5 cm) (up to 4 tables in a single sash) | M2 | 8 |  |  |
| 26 | Installation of 4+4 mm thick double glazed window unit with 12 mm gap and small slats on arched wooden joinery smaller than 0.1 m2 | M2 | 15 |  |  |
| 27 | Applying Two Coats of Water-Resistant, Breathable, Semi-Transparent (Colored) Water-Based Wood Protector to Smooth Wooden Surfaces | M2 | 295 |  |  |
| 28 | Applying Two Layers of Water-Resistant, Breathable, Semi-Transparent (Colored) Water-Based Wood Protector to Profiled Wooden Surfaces | M2 | 110 |  |  |
| 29 | Application of 3-layer Water-Based Polyurethane Resin Based Two-Component Full Matt (Non-Glare) Natural Looking Polish with Scratch Resistant Certificate (En 15186:2012) on Wooden Flooring, Parquet Floor, Wooden Stairs and All Other Indoor Wooden Parts | M2 | 477 |  |  |
| 30 | Providing gravel and drainage | M3 | 6 |  |  |
| 31 | Pouring normal ready-mixed concrete (including concrete transportation) produced or purchased in a concrete plant and pressed with a concrete pump, C 16/20 pressure resistance class, gray color | M3 | 5 |  |  |
| 32 | Ø 8- Ø 12 mm ribbed concrete steel bar, cutting, bending and placing the bars | Ton | 700 |  |  |
| 33 | Floor covering with 8 cm high normal cement steam cured concrete paving stones (in all sizes, colors and patterns) | M2 | 100 |  |  |
| 34 | Planting and maintaining grass for landscaping | M2 | 30 |  |  |
| 35 | Dismantling of paving slabs | M2 | 80 |  |  |
| 36 | Applying hydraulic based insulation | M2 | 110 |  |  |
| 37 | Repair of 22cm profiled imitation window frame in a historical building | MT | 78 |  |  |
| 38 | Repair of 24cm profiled imitation floor molding in a historical building | MT | 138 |  |  |
| 39 | Repair of cracked plaster joints in a historical building | MT | 275 |  |  |
|  |  |  |  | TOTAL |  |
|  |  |  |  | VAT |  |
|  |  |  |  | TOTAL (VAT included ) |  |